## CSM3
| TG-43 CONSENSUS | [5 empty] | E&Z BEBIG LDR 137Cs CSM3
Dose calculation for photon-emitting brachytherapy sources with average energy higher than 50 keV: Full Report of the AAPM and ESTRO
Med. Phys. 39 (2012) 2904-2929
| L = | 0.9016 |  | cGy/(h U)
Interpolated / extrapolated data are boldface / underlined. Values inside the source are in italics.
| gL( r) |  |  |  | F(r,q) | [14 empty] | QA Along-away
| L = | 1.8 | cm |  |  |  |  | Distance from Active Source Center (cm)
| r (cm) | gL( r) |  | Theta/deg | 0 | 0.25 | 0.5 | 0.75 | 1 | 1.5 | 2 | 2.5 | 3 | 4 | 5 | 6 | 7 | 8 | 10 | z / cm | 0 | 0.25 | 0.5 | 0.75 | 1 | 1.5 | 2 | 3 | 4 | 5 | 6 | 7
| 0 | 1.0801 |  | 0 | 0.81169 | 0.81169 | 0.81853 | 0.82537 | 0.83221 | 0.84589 | 0.85957 | 0.86318 | 0.86241 | 0.86067 | 0.85884 | 0.87115 | 0.87502 | 0.86248 | 0.87516 | 7 | 0.018524 | 0.01802 | 0.017713 | 0.017723 | 0.017869 | 0.01805 | 0.017893 | 0.016742 | 0.015023 | 0.013145 | 0.011363 | 0.0097413
| 0.25 | 1.0801 |  | 1 | 0.81844 | 0.81844 | 0.82397 | 0.82949 | 0.83501 | 0.84606 | 0.85711 | 0.85616 | 0.8562 | 0.85495 | 0.85211 | 0.85858 | 0.86223 | 0.86202 | 0.86972 | 6 | 0.025696 | 0.02488 | 0.024444 | 0.024637 | 0.024922 | 0.025005 | 0.024457 | 0.02217 | 0.019196 | 0.016296 | 0.013656 | 0.011422
| 0.5 | 1.0065 |  | 2 | 0.82082 | 0.82082 | 0.82536 | 0.82991 | 0.83446 | 0.84355 | 0.85264 | 0.84957 | 0.84746 | 0.84647 | 0.84445 | 0.8477 | 0.85265 | 0.8572 | 0.86369 | 5 | 0.037442 | 0.036438 | 0.03593 | 0.036436 | 0.036781 | 0.036414 | 0.034891 | 0.030096 | 0.024884 | 0.020215 | 0.016381 | 0.013307
| 0.75 | 1.0018 |  | 3 | 0.81492 | 0.81492 | 0.81898 | 0.82304 | 0.82711 | 0.83523 | 0.84335 | 0.83983 | 0.83646 | 0.83689 | 0.83712 | 0.84095 | 0.84642 | 0.85032 | 0.86044 | 4 | 0.060541 | 0.058326 | 0.057995 | 0.058979 | 0.059041 | 0.056771 | 0.052362 | 0.041876 | 0.032428 | 0.025009 | 0.019447 | 0.015339
| 1 | 1 |  | 4 | 0.80826 | 0.80826 | 0.81193 | 0.8156 | 0.81926 | 0.8266 | 0.83394 | 0.83135 | 0.82982 | 0.83001 | 0.83093 | 0.83529 | 0.84128 | 0.8462 | 0.85825 | 3 | 0.11402 | 0.10841 | 0.10942 | 0.10981 | 0.10724 | 0.096526 | 0.083186 | 0.059178 | 0.042002 | 0.03046 | 0.022677 | 0.017325
| 1.5 | 0.99534 |  | 5 | 0.80607 | 0.80607 | 0.80924 | 0.8124 | 0.81557 | 0.8219 | 0.82823 | 0.82598 | 0.82638 | 0.82807 | 0.82959 | 0.83482 | 0.84176 | 0.8467 | 0.85899 | 2 | 0.29515 | 0.27858 | 0.27681 | 0.26032 | 0.23454 | 0.18116 | 0.13779 | 0.082385 | 0.052728 | 0.035898 | 0.025664 | 0.019063
| 2 | 0.9892 |  | 6 | 0.80115 | 0.80115 | 0.80473 | 0.80831 | 0.81189 | 0.81905 | 0.8262 | 0.82484 | 0.82607 | 0.82974 | 0.83473 | 0.84064 | 0.84669 | 0.85162 | 0.86235 | 1.5 | 0.64742 | 0.59945 | 0.54538 | 0.459 | 0.37532 | 0.25198 | 0.17533 | 0.094892 | 0.057762 | 0.038245 | 0.026879 | 0.019745
| 3 | 0.97788 |  | 8 | 0.80102 | 0.80102 | 0.80624 | 0.81146 | 0.81668 | 0.82711 | 0.83755 | 0.84015 | 0.84113 | 0.84654 | 0.85137 | 0.85626 | 0.86138 | 0.86786 | 0.87683 | 1 | 4.85 | 2.2067 | 1.3255 | 0.85577 | 0.5976 | 0.33778 | 0.21455 | 0.10608 | 0.061922 | 0.040103 | 0.02782 | 0.020262
| 4 | 0.96494 |  | 10 | 0.62326 | 0.62326 | 0.66779 | 0.71231 | 0.75684 | 0.8459 | 0.85706 | 0.86012 | 0.86198 | 0.86727 | 0.8708 | 0.87575 | 0.87996 | 0.88506 | 0.89175 | 0.5 | 182446.9193 | 6.4563 | 2.3506 | 1.2884 | 0.81765 | 0.4121 | 0.24551 | 0.11398 | 0.0647 | 0.041306 | 0.028413 | 0.020589
| 5 | 0.9524 |  | 15 | 0.83323 | 0.83323 | 0.84397 | 0.85471 | 0.86545 | 0.88694 | 0.89663 | 0.9004 | 0.90327 | 0.90706 | 0.90963 | 0.9129 | 0.91605 | 0.91893 | 0.92363 | 0 | 97082428.9448 | 6.9097 | 2.6344 | 1.4397 | 0.9016 | 0.4412 | 0.25731 | 0.11688 | 0.065686 | 0.041736 | 0.028619 | 0.020707
| 6 | 0.9374 |  | 20 | 0.94614 | 0.94614 | 0.94093 | 0.93571 | 0.9305 | 0.92007 | 0.92758 | 0.93033 | 0.93222 | 0.935 | 0.9362 | 0.93853 | 0.94001 | 0.94143 | 0.94428 | -0.5 | 177913.4688 | 6.4551 | 2.3508 | 1.2888 | 0.81783 | 0.41216 | 0.24558 | 0.11402 | 0.064739 | 0.041303 | 0.028416 | 0.020597
| 8 | 0.90528 |  | 25 | 1.2426 | 1.2426 | 1.1503 | 1.0579 | 0.96547 | 0.94373 | 0.9472 | 0.94891 | 0.95072 | 0.95296 | 0.95385 | 0.95616 | 0.95725 | 0.95762 | 0.95996 | -1 | 4.7297 | 2.2056 | 1.3259 | 0.85575 | 0.59761 | 0.33779 | 0.21461 | 0.10612 | 0.061966 | 0.040103 | 0.027828 | 0.020276
| 10 | 0.86854 |  | 30 | 0.90284 | 0.90284 | 0.97194 | 1.041 | 0.98487 | 0.96029 | 0.96174 | 0.96279 | 0.96362 | 0.96576 | 0.96564 | 0.96683 | 0.96753 | 0.96773 | 0.96993 | -1.5 | 0.63138 | 0.58968 | 0.54445 | 0.45888 | 0.37529 | 0.25199 | 0.17533 | 0.094888 | 0.057799 | 0.038257 | 0.026885 | 0.019757
|  |  |  | 40 | 0.86084 | 0.86084 | 0.95981 | 1.016 | 0.99794 | 0.98061 | 0.97924 | 0.9803 | 0.98085 | 0.9813 | 0.98116 | 0.98257 | 0.9825 | 0.9828 | 0.98379 | -2 | 0.28785 | 0.27465 | 0.27483 | 0.25951 | 0.23433 | 0.18107 | 0.13776 | 0.082389 | 0.05275 | 0.035911 | 0.025666 | 0.019068
|  |  |  | 50 | 0.92274 | 0.92274 | 0.96731 | 1.003 | 1.0004 | 0.99141 | 0.98982 | 0.98965 | 0.98885 | 0.99035 | 0.98965 | 0.99028 | 0.99086 | 0.99055 | 0.99197 | -3 | 0.11093 | 0.10662 | 0.10827 | 0.10896 | 0.1066 | 0.096347 | 0.083129 | 0.059207 | 0.04202 | 0.030459 | 0.022676 | 0.017323
|  |  |  | 60 | 0.96307 | 0.96307 | 0.97923 | 0.99939 | 1.0003 | 0.9957 | 0.99532 | 0.99513 | 0.99507 | 0.99534 | 0.99478 | 0.99529 | 0.99539 | 0.99592 | 0.99627 | -4 | 0.05873 | 0.057575 | 0.057258 | 0.058446 | 0.058677 | 0.056495 | 0.052253 | 0.041886 | 0.032436 | 0.025016 | 0.019448 | 0.015332
|  |  |  | 70 | 0.98653 | 0.98653 | 0.99127 | 0.99956 | 1.0003 | 0.99899 | 0.9983 | 0.99735 | 0.99769 | 0.99785 | 0.9977 | 0.9983 | 0.99865 | 0.99804 | 0.99894 | -5 | 0.036462 | 0.036018 | 0.035433 | 0.036077 | 0.036534 | 0.036266 | 0.034762 | 0.030082 | 0.024882 | 0.020219 | 0.016388 | 0.013308
|  |  |  | 80 | 0.99875 | 0.99875 | 0.99774 | 0.99979 | 1.0005 | 1 | 0.99993 | 0.99939 | 0.99917 | 0.99942 | 0.99906 | 0.99955 | 0.99898 | 0.99952 | 1.0002 | -6 | 0.024807 | 0.024647 | 0.024196 | 0.02437 | 0.024735 | 0.02491 | 0.024374 | 0.022123 | 0.019201 | 0.016292 | 0.013656 | 0.011425
|  |  |  | 90 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | -7 | 0.017844 | 0.017842 | 0.017541 | 0.017531 | 0.017722 | 0.017947 | 0.01782 | 0.016691 | 0.015023 | 0.013142 | 0.011358 | 0.0097393
|  |  |  | 100 | 0.99765 | 0.99765 | 0.99797 | 0.99936 | 1.0004 | 0.99964 | 1.0001 | 0.99952 | 0.99955 | 1.0003 | 0.99893 | 0.99978 | 0.99986 | 1.0001 | 1.0005
|  |  |  | 110 | 0.98572 | 0.98572 | 0.99093 | 0.99826 | 0.99998 | 0.99916 | 0.99882 | 0.99843 | 0.99802 | 0.99852 | 0.99832 | 0.99839 | 0.99856 | 0.99804 | 0.9986
|  |  |  | 120 | 0.95964 | 0.95964 | 0.97935 | 0.99942 | 1.0006 | 0.99646 | 0.99511 | 0.99533 | 0.99439 | 0.99572 | 0.99495 | 0.99513 | 0.99539 | 0.99544 | 0.99654
|  |  |  | 130 | 0.91813 | 0.91813 | 0.96721 | 1.0037 | 1.0007 | 0.99124 | 0.98951 | 0.98953 | 0.9893 | 0.99041 | 0.99018 | 0.99064 | 0.99114 | 0.99106 | 0.9921
|  |  |  | 140 | 0.85576 | 0.85576 | 0.95995 | 1.0154 | 0.99798 | 0.98074 | 0.97982 | 0.97987 | 0.98008 | 0.9821 | 0.98187 | 0.98234 | 0.98263 | 0.98243 | 0.98323
|  |  |  | 150 | 0.90244 | 0.90244 | 0.97158 | 1.0407 | 0.98427 | 0.96036 | 0.96112 | 0.96228 | 0.96255 | 0.96453 | 0.96478 | 0.96642 | 0.96801 | 0.96789 | 0.96962
|  |  |  | 155 | 1.2418 | 1.2418 | 1.15 | 1.0581 | 0.96631 | 0.94347 | 0.94682 | 0.94728 | 0.94861 | 0.95099 | 0.95093 | 0.95306 | 0.95417 | 0.95479 | 0.95678
|  |  |  | 160 | 0.94639 | 0.94639 | 0.94109 | 0.93579 | 0.93049 | 0.91989 | 0.92488 | 0.92598 | 0.92718 | 0.92982 | 0.93217 | 0.9351 | 0.93716 | 0.93867 | 0.94238
|  |  |  | 165 | 0.84011 | 0.84011 | 0.84879 | 0.85748 | 0.86617 | 0.88354 | 0.89145 | 0.89408 | 0.8967 | 0.902 | 0.9057 | 0.91024 | 0.91237 | 0.91423 | 0.91992
|  |  |  | 170 | 0.6366 | 0.6366 | 0.6756 | 0.7146 | 0.75359 | 0.83159 | 0.84607 | 0.85098 | 0.85307 | 0.85886 | 0.86404 | 0.86983 | 0.87399 | 0.87869 | 0.8878
|  |  |  | 172 | 0.78409 | 0.78409 | 0.79018 | 0.79628 | 0.80238 | 0.81457 | 0.82676 | 0.82924 | 0.83183 | 0.83781 | 0.84225 | 0.84797 | 0.8543 | 0.85934 | 0.86885
|  |  |  | 174 | 0.78974 | 0.78974 | 0.7931 | 0.79645 | 0.79981 | 0.80652 | 0.81323 | 0.81242 | 0.81337 | 0.81657 | 0.82259 | 0.83011 | 0.83738 | 0.84197 | 0.8538
|  |  |  | 175 | 0.79763 | 0.79763 | 0.80004 | 0.80245 | 0.80485 | 0.80967 | 0.81449 | 0.81232 | 0.81187 | 0.81427 | 0.81938 | 0.82613 | 0.83242 | 0.83723 | 0.84997
|  |  |  | 176 | 0.7999 | 0.7999 | 0.80315 | 0.8064 | 0.80966 | 0.81616 | 0.82267 | 0.82028 | 0.8188 | 0.81977 | 0.82326 | 0.82768 | 0.8332 | 0.83808 | 0.84887
|  |  |  | 177 | 0.80799 | 0.80799 | 0.81149 | 0.81499 | 0.81849 | 0.82549 | 0.83249 | 0.82911 | 0.82661 | 0.82548 | 0.82718 | 0.83149 | 0.83692 | 0.84047 | 0.85065
|  |  |  | 178 | 0.81976 | 0.81976 | 0.82278 | 0.8258 | 0.82882 | 0.83485 | 0.84089 | 0.83846 | 0.83718 | 0.83504 | 0.83642 | 0.84073 | 0.8443 | 0.84897 | 0.85861
|  |  |  | 179 | 0.8143 | 0.8143 | 0.81846 | 0.82263 | 0.82679 | 0.83512 | 0.84345 | 0.84312 | 0.84288 | 0.84028 | 0.84148 | 0.84573 | 0.84711 | 0.85111 | 0.86028
|  |  |  | 180 | 0.79151 | 0.79151 | 0.7982 | 0.80488 | 0.81157 | 0.82494 | 0.83831 | 0.84162 | 0.83906 | 0.83493 | 0.83637 | 0.84103 | 0.84288 | 0.84244 | 0.85113