## Buchler
| TG-43 CONSENSUS | [5 empty] | E&Z BEBIG HDR 192Ir Buchler model G0814
Dose calculation for photon-emitting brachytherapy sources with average energy higher than 50 keV: Full Report of the AAPM and ESTRO
Med. Phys. 39 (2012) 2904-2929
| L = | 1.117 |  | cGy/(h U)
Interpolated / extrapolated data are boldface / underlined. Values inside the source are in italics.
| gL(r) |  |  |  | F(r,q) | [13 empty] | QA Along-away
| L = | 0.13 | cm |  |  |  |  | Distance from Active Source Center (cm)
| r (cm) | gL( r) |  | Theta/deg | 0 | 0.2 | 0.4 | 0.6 | 0.8 | 1 | 1.25 | 1.5 | 2 | 3 | 4 | 6 | 8 | 10 | z / cm | 0 | 0.25 | 0.5 | 0.75 | 1 | 1.5 | 2 | 3 | 4 | 5 | 6 | 7
| 0 | 1.023 |  | 0 | 0.864 | 0.864 | 0.873 | 0.882 | 0.881 | 0.88 | 0.884 | 0.887 | 0.891 | 0.893 | 0.896 | 0.915 | 0.92 | 0.94 | 7 | 0.02059 | 0.0206 | 0.020618 | 0.02054 | 0.020401 | 0.020002 | 0.019439 | 0.017911 | 0.016055 | 0.014102 | 0.012248 | 0.010564
| 0.2 | 1.023 |  | 1 | 0.863 | 0.863 | 0.871 | 0.879 | 0.878 | 0.878 | 0.881 | 0.885 | 0.889 | 0.892 | 0.895 | 0.915 | 0.92 | 0.938 | 6 | 0.028292 | 0.028296 | 0.028268 | 0.028122 | 0.02788 | 0.027144 | 0.02613 | 0.023426 | 0.02037 | 0.017394 | 0.014692 | 0.012366
| 0.25 | 1.0182 |  | 2 | 0.871 | 0.871 | 0.878 | 0.885 | 0.884 | 0.883 | 0.885 | 0.888 | 0.891 | 0.894 | 0.897 | 0.916 | 0.922 | 0.937 | 5 | 0.040603 | 0.040662 | 0.040635 | 0.040348 | 0.039884 | 0.038431 | 0.036438 | 0.031463 | 0.026247 | 0.02154 | 0.017617 | 0.0144
| 0.5 | 1.002 |  | 3 | 0.873 | 0.873 | 0.88 | 0.887 | 0.886 | 0.885 | 0.888 | 0.89 | 0.893 | 0.897 | 0.901 | 0.918 | 0.925 | 0.937 | 4 | 0.063095 | 0.063283 | 0.063117 | 0.062525 | 0.061321 | 0.057889 | 0.053364 | 0.043348 | 0.034133 | 0.026676 | 0.020925 | 0.01661
| 0.75 | 0.999 |  | 4 | 0.876 | 0.876 | 0.882 | 0.888 | 0.888 | 0.887 | 0.889 | 0.892 | 0.895 | 0.899 | 0.903 | 0.92 | 0.927 | 0.937 | 3 | 0.11193 | 0.11219 | 0.11129 | 0.10871 | 0.10496 | 0.094838 | 0.083163 | 0.061061 | 0.044279 | 0.032603 | 0.024445 | 0.018766
| 1 | 1 |  | 5 | 0.876 | 0.876 | 0.882 | 0.888 | 0.889 | 0.889 | 0.891 | 0.894 | 0.897 | 0.902 | 0.906 | 0.921 | 0.927 | 0.935 | 2 | 0.25041 | 0.24888 | 0.24198 | 0.22894 | 0.21174 | 0.17321 | 0.13734 | 0.085755 | 0.05594 | 0.0385 | 0.027715 | 0.020665
| 1.5 | 1.003 |  | 6 | 0.877 | 0.877 | 0.883 | 0.889 | 0.89 | 0.89 | 0.893 | 0.895 | 0.898 | 0.904 | 0.909 | 0.923 | 0.929 | 0.935 | 1.5 | 0.44312 | 0.43868 | 0.41408 | 0.37527 | 0.32995 | 0.2434 | 0.17741 | 0.099684 | 0.061562 | 0.041082 | 0.029061 | 0.021422
| 2 | 1.004 |  | 7 | 0.878 | 0.878 | 0.884 | 0.89 | 0.891 | 0.891 | 0.893 | 0.895 | 0.899 | 0.905 | 0.91 | 0.924 | 0.93 | 0.935 | 1 | 0.98852 | 0.95983 | 0.84022 | 0.68797 | 0.54656 | 0.34198 | 0.22366 | 0.11268 | 0.066268 | 0.043149 | 0.030104 | 0.021988
| 3 | 1.008 |  | 8 | 0.88 | 0.88 | 0.886 | 0.892 | 0.894 | 0.893 | 0.896 | 0.898 | 0.901 | 0.908 | 0.912 | 0.925 | 0.931 | 0.935 | 0.5 | 4.0017 | 3.368 | 2.1789 | 1.3621 | 0.8916 | 0.44878 | 0.26444 | 0.12211 | 0.069399 | 0.044429 | 0.030723 | 0.022329
| 4 | 1.007 |  | 9 | 0.882 | 0.882 | 0.888 | 0.894 | 0.896 | 0.897 | 0.899 | 0.901 | 0.905 | 0.911 | 0.916 | 0.927 | 0.932 | 0.935 | 0 | 1368933125.5388 | 17.829 | 4.4582 | 1.9821 | 1.117 | 0.49832 | 0.28065 | 0.12526 | 0.070394 | 0.04483 | 0.030915 | 0.022439
| 5 | 1.002 |  | 10 | 0.883 | 0.883 | 0.889 | 0.895 | 0.898 | 0.899 | 0.902 | 0.904 | 0.907 | 0.914 | 0.918 | 0.928 | 0.933 | 0.935 | -0.5 | 1.2871 | 3.324 | 2.1827 | 1.3636 | 0.89218 | 0.44947 | 0.26428 | 0.12199 | 0.06935 | 0.044404 | 0.030708 | 0.022325
| 6 | 0.995 |  | 15 | 0.896 | 0.896 | 0.901 | 0.906 | 0.909 | 0.91 | 0.912 | 0.913 | 0.916 | 0.923 | 0.927 | 0.936 | 0.94 | 0.94 | -1 | 0.33643 | 0.89947 | 0.82958 | 0.68734 | 0.54685 | 0.34233 | 0.22379 | 0.11257 | 0.066204 | 0.043109 | 0.030077 | 0.02198
| 8 | 0.971 |  | 20 | 0.905 | 0.905 | 0.911 | 0.917 | 0.919 | 0.921 | 0.923 | 0.924 | 0.927 | 0.933 | 0.937 | 0.945 | 0.948 | 0.948 | -1.5 | 0.15824 | 0.39766 | 0.39851 | 0.36968 | 0.32864 | 0.24353 | 0.17759 | 0.099692 | 0.061512 | 0.041058 | 0.029045 | 0.021415
| 10 | 0.941 |  | 30 | 0.91 | 0.91 | 0.934 | 0.94 | 0.942 | 0.942 | 0.944 | 0.946 | 0.947 | 0.951 | 0.954 | 0.959 | 0.962 | 0.964 | -2 | 0.09387 | 0.21911 | 0.22686 | 0.22183 | 0.20857 | 0.17287 | 0.13741 | 0.085809 | 0.055926 | 0.03849 | 0.027711 | 0.020662
|  |  |  | 40 | 0.939 | 0.939 | 0.955 | 0.962 | 0.964 | 0.963 | 0.964 | 0.967 | 0.967 | 0.968 | 0.97 | 0.973 | 0.975 | 0.977 | -3 | 0.046187 | 0.093143 | 0.10032 | 0.10174 | 0.10065 | 0.0933 | 0.08278 | 0.061085 | 0.04431 | 0.032606 | 0.02444 | 0.018761
|  |  |  | 50 | 0.964 | 0.964 | 0.977 | 0.98 | 0.981 | 0.981 | 0.98 | 0.983 | 0.982 | 0.982 | 0.983 | 0.986 | 0.987 | 0.987 | -4 | 0.028379 | 0.051008 | 0.055957 | 0.057372 | 0.057715 | 0.056148 | 0.05251 | 0.043191 | 0.034122 | 0.026694 | 0.02092 | 0.016594
|  |  |  | 60 | 0.976 | 0.976 | 0.991 | 0.993 | 0.994 | 0.995 | 0.992 | 0.995 | 0.993 | 0.992 | 0.993 | 0.996 | 0.995 | 0.993 | -5 | 0.019617 | 0.031392 | 0.035312 | 0.036642 | 0.037029 | 0.03685 | 0.035509 | 0.031142 | 0.02615 | 0.021511 | 0.017618 | 0.014379
|  |  |  | 70 | 0.989 | 0.989 | 0.997 | 1 | 1.001 | 1.001 | 0.998 | 1 | 0.999 | 0.999 | 0.999 | 1 | 0.998 | 0.997 | -6 | 0.014594 | 0.021213 | 0.024139 | 0.025169 | 0.025707 | 0.025811 | 0.025285 | 0.023024 | 0.02019 | 0.017323 | 0.014647 | 0.012326
|  |  |  | 80 | 0.997 | 0.997 | 0.997 | 1 | 1.001 | 1.001 | 1 | 1.001 | 1.002 | 1.002 | 1.002 | 1.002 | 1 | 0.999 | -7 | 0.011367 | 0.015515 | 0.01744 | 0.018242 | 0.018681 | 0.018875 | 0.018693 | 0.017508 | 0.01585 | 0.013989 | 0.012177 | 0.010501
|  |  |  | 90 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | 100 | 0.998 | 0.998 | 0.998 | 1 | 1 | 1.001 | 1.001 | 1.002 | 1.001 | 1.001 | 1.001 | 1.001 | 1 | 1
|  |  |  | 110 | 0.98 | 0.98 | 0.996 | 1 | 1.001 | 1.002 | 0.999 | 1.002 | 0.999 | 0.998 | 0.998 | 1 | 0.998 | 0.998
|  |  |  | 120 | 0.98 | 0.98 | 0.989 | 0.993 | 0.995 | 0.995 | 0.993 | 0.996 | 0.994 | 0.993 | 0.993 | 0.996 | 0.994 | 0.991
|  |  |  | 130 | 0.957 | 0.957 | 0.978 | 0.983 | 0.983 | 0.983 | 0.982 | 0.984 | 0.983 | 0.983 | 0.984 | 0.987 | 0.987 | 0.982
|  |  |  | 140 | 0.95 | 0.95 | 0.957 | 0.964 | 0.964 | 0.965 | 0.965 | 0.966 | 0.967 | 0.968 | 0.97 | 0.971 | 0.971 | 0.97
|  |  |  | 150 | 0.921 | 0.921 | 0.928 | 0.935 | 0.937 | 0.94 | 0.939 | 0.939 | 0.942 | 0.944 | 0.947 | 0.948 | 0.95 | 0.954
|  |  |  | 160 | 0.867 | 0.867 | 0.88 | 0.893 | 0.893 | 0.894 | 0.894 | 0.896 | 0.897 | 0.901 | 0.907 | 0.919 | 0.922 | 0.929
|  |  |  | 165 | 0.854 | 0.854 | 0.855 | 0.856 | 0.855 | 0.858 | 0.861 | 0.865 | 0.865 | 0.87 | 0.878 | 0.895 | 0.903 | 0.908
|  |  |  | 170 | 0.803 | 0.803 | 0.807 | 0.811 | 0.815 | 0.82 | 0.823 | 0.824 | 0.825 | 0.827 | 0.838 | 0.859 | 0.875 | 0.878
|  |  |  | 171 | 0.796 | 0.796 | 0.799 | 0.802 | 0.805 | 0.808 | 0.812 | 0.813 | 0.815 | 0.818 | 0.83 | 0.851 | 0.868 | 0.869
|  |  |  | 172 | 0.785 | 0.785 | 0.786 | 0.787 | 0.788 | 0.789 | 0.796 | 0.799 | 0.804 | 0.806 | 0.82 | 0.839 | 0.857 | 0.86
|  |  |  | 173 | 0.75 | 0.75 | 0.755 | 0.76 | 0.765 | 0.77 | 0.775 | 0.783 | 0.79 | 0.791 | 0.805 | 0.825 | 0.845 | 0.849
|  |  |  | 174 | 0.6922 | 0.6922 | 0.7034 | 0.7146 | 0.7258 | 0.737 | 0.751 | 0.758 | 0.766 | 0.775 | 0.791 | 0.81 | 0.831 | 0.837
|  |  |  | 175 | 0.6958 | 0.6958 | 0.7006 | 0.7054 | 0.7102 | 0.715 | 0.721 | 0.727 | 0.738 | 0.754 | 0.773 | 0.792 | 0.814 | 0.824
|  |  |  | 176 | 0.6422 | 0.6422 | 0.6484 | 0.6546 | 0.6608 | 0.667 | 0.67475 | 0.6825 | 0.698 | 0.729 | 0.75 | 0.767 | 0.791 | 0.806
|  |  |  | 177 | 0.5092 | 0.5092 | 0.5204 | 0.5316 | 0.5428 | 0.554 | 0.568 | 0.582 | 0.61 | 0.666 | 0.696 | 0.732 | 0.763 | 0.784
|  |  |  | 178 | 0.4656 | 0.4656 | 0.4722 | 0.4788 | 0.4854 | 0.492 | 0.50025 | 0.5085 | 0.525 | 0.558 | 0.591 | 0.659 | 0.72 | 0.75
|  |  |  | 179 | 0.4139 | 0.4139 | 0.4188 | 0.4237 | 0.4286 | 0.4335 | 0.43963 | 0.44575 | 0.458 | 0.4825 | 0.507 | 0.556 | 0.605 | 0.655
|  |  |  | 180 | 0.2719 | 0.2719 | 0.2788 | 0.2857 | 0.2926 | 0.2995 | 0.30813 | 0.31675 | 0.334 | 0.3685 | 0.403 | 0.472 | 0.541 | 0.61